Steam Boiler – Parts Test - KEY

Directions: Look at each slide. Right the letter of the part next to the number of the slide.

PART A

- condensate pumps for make up water

- condensate return tank and temp gauge

- condensate return tank with control for make up water

- control panel

- fire eye or flame scanner

- gauge glass and tri cocks

- gauge glass, tri cocks, low water cut off

- inside control panel

- low water cut off

- manual flame eye

- modulating valve controls – air and gas

- old water valve – pneumatically controlled

- one-way valve

- one-way valve supplies – city make up water

- safety valves

- steam pressure gauge

1. __f___

2. __g___

3. __i___

4. __k___

5. __e___

6. __j___

7. __p___

8. __d___

9. __h___

10. __l___

11. __m___

12. __o___

13. __n___

14. __a___

15. __c___

16. __b___

PART B

- air compressor for pneumatic controls

- Class C boiler license

- combustion temperature at breeching

- condensate vacuum pump

- draft gauges

- forced draft fan and gas controls

- fuel oil filter

- fuel oil pumps

- fuel oil temperature and pressure gauge – low water cut-off

- gas supply shut-off

- inside fire tube boiler

- log sheet

- main steam header and outside stem and yoke (OSY) valves

- outside stem and yoke valve - closed

- outside stem and yoke valve - open

- vacuum pump to draw condensate back

17. __ff___

18. __cc___

19. __ee___

20. __dd___

21. __x___

22. __w___

23. __y___

24. __s___

25. __v___

26. __aa__

27. __t___

28. __q___

29. __u___

30. __z___

31. __bb___

32. __r___